## Introduction
Growthpoint Sustainability Reporting Suite
This Sustainability Databook provides an overview of Growthpoint's sustainability portfolio and asset level performance data for the financial year ending 30 June 2024.
This databook is to be used in conjuction with Growthpoint Sustainability Report (https://growthpoint.com.au/results) and the Reporting Criteria (included on pages XX-XX of the FY24 Sustainability Report).
WSP has provided an independent limited assurance of the selected metrics in this Databook. A copy of the assurance statement can be found on pages XX-XX in the FY24 Sustainability Report.
Performance metrics
Growthpoint uses the following performance metrics to report on the sustainability performance.
Metrics | Definition
Energy Consumption | Growthpoint’s total energy consumption consists of:
- Non-renewable grid electricity purchased from the public electricity network
- Renewable grid electricity (GreenPowerTM) purchased by Growthpoint through the electricity agreements
- Renewable energy generated from onsite solar PV systems. For reporting purposes, Growthpoint assumes that all renewable energy generated is consumed onsite
- Natural gas distributed in a pipeline
- Diesel fuel from stationary on-site generators
Electricity Consumption from renewable sources | The amount of electricity consumed from renewable sources is calculated as a % of renewable electricity consumed from the total electricity consumed.
NLA | Total Net Lettable Area - adjusted for the ownership period
Energy Intensity | Total energy consumed divided by the NLA, used as a normalising factor to compare the relative intensity
Scope 1 Emissions | Greenhouse gas emissions associated with the usage of the following sources:
- Base building natural gas sourced directly from the pipeline consumed by facilities within Growthpoint's operational control
- Diesel fuel consumption from stationary on-site generators
- Leakage of refrigerant gases used in base building air conditioners
Scope 1 emissions were calculated according to the National Greenhouse and Energy Reporting (NGER) (Measurement) Determination 2008.
Scope 2 Emissions | Greenhouse gas emissions associated with the consumption of the following sources:
- Base building electricity consumed by facilities within Growthpoint operational control
- Consumption of electricity by Growthpoint at our corporate head offices
- Location-based method | Location-based Scope 2 emissions were calculated in accordance with the NGER (Measurement) Determination 2008.
- Market based method | Market-based Scope 2 emissions were calculated in accordance with the GHG Protocol Scope 2 Guidance and the Electricity Accounting guidance issued by Climate Active.
Carbon Intensity | Greenhouse gas emissions divided by the NLA, used as a normalising factor to compare the relative intensity
Scope 3 Emissions | Greenhouse gas emissions associated the following sources:
- Purchased goods and services - paper consumption
- Fuel- and energy-related activities - transmission and distribution losses and emissions from extraction and processing of input fuels
- Waste generated in operations - waste sent to landfill from tenant and base building activities at Growthpoint properties
- Business travel - air travel, rental car hire and taxi/Uber, and hotel accommodation
- Upstream leased assets - emissions from the base building operations of the buildings where Growthpoint corporate head offices are located
- Downstream leased assets - emissions generated from tenancy electricity and natural gas consumption
Water Consumption | Growthpoint’s total water consumption consists of:
- Potable water - drinking quality water supplied to GOZ assets from local water authorities
- Recycled water - water recycled from non-potable water sources, supplied by the local water authority
Water Intensity | Total amount of water consumed divided by the NLA, used as a normalising factor to compare the relative intensity
Waste to Landfill | Waste generated by the commercial offices, disposed to landfill
Recycling | Recycled waste diverted from landfill, including comingled, paper and cardboard, organics, e-waste and secured paper waste streams
Diversion % | The diversion % is calculated as a proportion of waste that was recycled from the total amount of waste generated.
NABERS | Growthpoint uses the National Australian Built Environment Rating System - a national system for measuring environmental performance of buildings.
Green Star Performance | Growthpoint undertakes the Green Star Performance certification for 100% owned office assets. Green Star is an internationally recognised sustainability rating system developed by the Green Building Council of Australia.

## Summary - Directly Owned
Directly Owned Assets
Summary | GHG Emissions
Boundary | Source/Scope 3 Category | Metric | FY24 | FY23 | FY22 | FY21 | FY20 | % Change (compared to FY23)
Scope 1 | Natural Gas | tCO2e | 968.3162 | 1211.5541 | 989.3208 | 821.0516 | 873.6386 | -20.08%
Scope 1 | Stationary fuel - diesel1 | tCO2e | 2.5363 | 13.4536 | 16.8166 | 0.271 | 27.0502 | -81.15%
Scope 1 | Refrigerant leakage1 | tCO2e | 248.3799 | 154.57 | 165.1 | 243.1 | 175.8266 | 60.69%
Scope 2 | Electricity (location-based) | tCO2e | 8165.7681 | 9039.5558 | 10730.5953 | 10675.446 | 12651.4831 | -9.666%
Scope 2 | Electricity (market-based) | tCO2e | 2195.9762 | 6752.173 | 8039.6634 | 9159.3434 | n/a | -67.48%
Scope 3 | Category 3 - Fuel and energy-related activities | tCO2e | 1158.1724 | 1358.5669 | 1440.5261 | 1493.4949 | 1786.9108 | -14.75%
Scope 3 | Category 5 - Waste generated in operations | tCO2e | 1182.0413 | 1267.8364 | 1227.1486 | 1219.933 | 1571.8118 | -6.767%
Scope 3 | Category 6 - Business Travel | tCO2e | 263.0288 | 224.8817 | 43.4644 | 9.8293 | 39.8872 | 16.96%
Scope 3 | Category 8 - Upstream leased assets2 | tCO2e | 61.7798 | 65.197 | n/a | n/a | n/a | -5.241%
Scope 3 | Category 13 - Downstream leased assets | tCO2e | 52071.3891 | 56056.8335 | 60652.0913 | 53857.5482 | 38092.1229 | -7.11%
Scope 3 | Category 15 - Investments3 | tCO2e | 131.4863 | 171.2603 | n/a | n/a | n/a | -23.22%
Scope 1 Total |  | tCO2e | 1219.2324 | 1379.5777 | 1171.2374 | 1064.4226 | 1076.5154 | -11.62%
Scope 2 Total (location-based) |  | tCO2e | 8165.7681 | 9039.5558 | 10730.5953 | 10675.446 | 12651.4831 | -9.666%
Scope 2 Total (market-based) |  | tCO2e | 2195.9762 | 6752.173 | 8039.6634 | 9159.3434 | n/a | -67.48%
Scope 3 Total |  | tCO2e | 54867.8977 | 59144.5759 | 63363.2304 | 56580.8054 | 41490.7327 | -7.231%
GHG Emissions Total (location-based) |  | tCO2e | 64252.8982 | 69563.7094 | 75265.0631 | 68320.674 | 55218.7312 | -7.634%
GHG Emissions Total (market-based) |  | tCO2e | 58283.1063 | 67276.3266 | 72574.1312 | 66804.5714 | n/a | -13.37%
1. Diesel and refrigerant data was estimated prior to FY21 (as 1.5% of the total Scope 1 and 2 emissions - 0.2% for diesel and 1.3% for refrigerant leakage)
2. Includes emissions from base building operations of the building where Growthpoint’s Melbourne corporate office tenancy is located. Excludes the base building emissions from our Sydney office.
3. Includes emissions from Growthpoint's equity investment in DXI, apportionate to 15.5% equity
Summary | Resource consumption
Boundary | Activity | Metric | FY24 | FY23 | FY22 | FY21 | FY20 | % Change (compared to FY23)
| NLA operationally controlled properties4 | Sqm | 286919.1 | 294462.875 | 273842.9667 | 261897.3 | 272067.1 | -2.562%
| No. operationally controlled properties | No. | 22 | 22 | 22 | 19 | 21 | 0%
Resource Consumption - Energy
Operationally controlled properties - Base Building
| Natural Gas | MWh | 5219.8088 | 6531.0041 | 5333.0394 | 4425.9611 | 4709.4347 | -20.08%
| Diesel | MWh | 10.036 | 53.2358 | 66.5421 | 1 | n/a | -81.15%
| Electricity - grid - non-renewable | MWh | 5874.5896 | 11349.9431 | 12314.1908 | 12646.7326 | 14999.4462 | -48.24%
| Electricity - grid - renewable (Green Power) | MWh | 5600.4971 | 798.0604 | 758.7053 | 204.4965 | 13.6979 | 601.8%
| Total Electricity - grid | MWh | 11475.0867 | 12148.0035 | 13072.8961 | 12851.229 | 15013.1441 | -5.539%
| Renewable Energy Generated and Consumed Onsite (solar) | MWh | 1048.0428 | 990.2336 | 633.6277 | 596.8465 | 318.9244 | 5.838%
| Total Electricity Consumption | MWh | 12523.1295 | 13138.2371 | 13706.5238 | 13448.0755 | 15332.0685 | -4.682%
| % electricity consumption from renewable sources | % | 53.09% | 13.61% | 10.16% | 5.959% | 2.169% | 290%
| Total Energy Consumption (incl elec, gas, diesel and solar) | GJ | 63910.7072 | 71000.9173 | 68781.979 | 64350.1319 | 72149.4114 | -9.986%
Intensity
| Energy Intensity | MJ/sqm | 222.7482 | 241.1201 | 251.1731 | 245.7075 | 265.1898 | -7.619%
| Carbon Intensity (location-based) | kg CO2/sqm | 32.7096 | 35.3835 | 43.4623 | 44.8262 | 50.4581 | -7.557%
| Carbon Intensity (market-based) | kg CO2/sqm | 11.903 | 27.6155 | 33.6357 | 39.0373 | n/a | -56.9%
Operationally controlled properties - Tenant Spaces
Office
| Electricity | MWh | 12048.2807 | 12796.5295 | 11212.9428 | 10993.7919 | 11347.311 | -5.847%
Non -operationally controlled properties
Office
| Electricity | MWh | 8719.8679 | 8382.5804 | 8217.7344 | 8391.4248 | 8911.033 | 4.024%
| Natural Gas | MWh | 2230.9056 | 1993.47 | 1707.9344 | 2238.7764 | 2429.4867 | 11.91%
Industrial
| Electricity | MWh | 51208.713 | 54006.5032 | 53715.5871 | 44023.7977 | 26881.5891 | -5.18%
| Renewable Energy Generated and Consumed Onsite (solar) | MWh | 488.1639 | 175.2854 | n/a | n/a | n/a | 178.5%
| Portfolio Tenant data coverage (electricity) | % | 88.3891 | 85 | 72 | 52 | n/a | 3.987%
Recource Consumption - Water
Operationally controlled properties - Whole Building
Office
| Potable Water | kL | 81832.1853 | 81286.1741 | 77036.2804 | 74185.8671 | 104266.0167 | 0.6717%
| Recycled Water | kL | 10275.0794 | 7772.6372 | 6670.0627 | 14491.693 | 14474.496 | 32.2%
| Total Water Consumption | kL | 92107.2647 | 89058.8113 | 83706.3431 | 88677.5601 | 118740.5127 | 3.423%
| Water Intensity | KL/sqm | 0.3128 | 0.30244 | 0.30567 | 0.3386 | 0.43644 | 3.423%
Non-operationally controlled properties - Whole Building
Office
| Potable Water | kL | 35919.8721 | 35489.1549 | 36592.3868 | 40868.3742 | 38481.5731 | 1.214%
Industrial
| Potable Water | kL | 156548.4205 | 159182.2161 | 156656.9341 | 149954.7965 | 109520.6526 | -1.655%
| Total Water Consumption - non- oper controlled | kL | 192468.2926 | 194671.371 | 193249.3209 | 190823.1707 | 148002.2257 | -1.132%
Waste and Recycling
All offices | Waste to Landfill | tonnes | 909.459 | 975.2587 | 943.9605 | 938.41 | 1209.086 | -6.747%
| Recycling | tonnes | 323.0928 | 325.0156 | 282.2408 | 243.305 | 343.738 | -0.5916%
| Total waste | tonnes | 1232.5518 | 1300.2743 | 1226.2013 | 1181.715 | 1552.824 | -5.208%
| Diversion % | % | 26.21% | 25% | 23.02% | 20.59% | 22.14% | 4.87%
4. From FY22, NLA was prorated for the ownership period

## Summary - Third Party
Third Party Assets
Summary | GHG Emissions
Scope | Source/Scope 3 Category | Metric | FY24 | FY231 | % Change (compared to FY23)
Scope 1 | Natural Gas | tCO2e | 281.2278 | 177.8326 | 58.14%
Scope 2 | Electricity (location-based) | tCO2e | 9320.4016 | 7849.4574 | 18.74%
Scope 2 | Electricity (market-based) | tCO2e | 9086.3593 | 7635.2437 | 19.01%
Scope 3 | Category 3 - Fuel and energy-related activities | tCO2e | 1684.5932 | 1387.1203 | 21.45%
Scope 3 | Category 5 - Waste generated in operations | tCO2e | 1445.0485 | 1120.2809 | 28.99%
Scope 1 Total |  | tCO2e | 281.2278 | 177.8326 | 58.14%
Scope 2 Total (location-based) |  | tCO2e | 9320.4016 | 7849.4574 | 18.74%
Scope 2 Total (market-based) |  | tCO2e | 9086.3593 | 7635.2437 | 19.01%
Scope 3 Total |  | tCO2e | 3129.6417 | 2507.4012 | 24.82%
GHG Emissions Total (location-based) |  | tCO2e | 12731.2711 | 10534.6912 | 20.85%
GHG Emissions Total (market-based) |  | tCO2e | 12497.2288 | 10320.4775 | 21.09%
Summary | Resource consumption
Boundary | Activity | Metric | FY24 | FY231 | % Change (compared to FY23)
| NLA operationally controlled properties | Sqm | 129617.7333 | 112667.5 | 15.04%
| No. operationally controlled properties | No. | 8 | 9 | -11.11%
Resource Consumption - Energy
Base Building | Natural Gas | MWh | 1515.9864 | 958.6243 | 58.14%
| Electricity - grid - non-renewable | MWh | 13914.408 | 11318.4724 | 22.94%
| Electricity - grid - renewable (Green Power) | MWh | 490.9367 | 389.47 | 26.05%
| Renewable Energy Generated and Consumed Onsite (solar) | MWh | 1296.2309 | 834.344 | 55.36%
| Electricity (grid including Green Power) | MWh | 14405.3448 | 11707.9424 | 23.04%
| Total Electricity Consumption | MWh | 16192.5124 | 12931.7565 | 25.22%
| % elec consumption from renewable sources | % | 11.04% | 9.464% | 16.63%
| Energy Consumption (incl elec, gas and solar) | GJ | 61983.2234 | 48603.2786 | 27.53%
Intensity
| Energy Intensity | MJ/sqm | 478.2002 | 431.3869 | 10.85%
| Carbon Intensity (location-based) | kg CO2/sqm | 74.0765 | 71.2476 | 3.971%
| Carbon Intensity (market-based) | kg CO2/sqm | 72.2709 | 69.3463 | 4.217%
Recource Consumption - Water
Whole Building | Potable Water | kL | 103772.3488 | 91065.6617 | 13.95%
| Water Intensity | KL/sqm | 0.8006 | 0.80827 | -0.9485%
Waste and Recycling
Whole Building | Waste to Landfill | tonnes | 1111.5758 | 861.7544 | 28.99%
| Recycling | tonnes | 346.4006 | 174.18 | 98.88%
| Total waste | tonnes | 1457.9764 | 1035.9344 | 40.74%
| Diversion % | % | 23.76% | 16.81% | 41.31%
1. The FY23 data provided for the ownership period, from the acquisition of the assets on 15/09/2022

## Asset Data - Directly Owned
Asset Data - Directly Owned
FY24 performance data
Envizi name | Property | Region | State | Lettable area | Operationally controlled | Electricity base building | Solar Generation | Green Power | Electricity tenant spaces1 | Natural Gas | Energy intensity2 | Emissions Intensity - location based3 | Water Consumed | Waste diverted from landfill
|  |  |  | sqm | Y / N | MWh | MWh | MWh | MWh | GJ | MJ/sqm | kg CO2/sqm | kL | %
10-12 Mort Street, Canberra ACT 2601 | 10-12 Mort Street | Canberra | ACT | 15398 | Y | 523.4943 | 0 | 0 | 766.8902 | 1631.237 | 228.3294 | 28.5773 | 4878.4984 | 27.78%
255 London Circuit, CANBERRA ACT 2601 | 255 London Circuit | Canberra | ACT | 9167 | Y | 553.4823 | 0 | 0 | 728.432 | 1317.1391 | 361.0424 | 48.4608 | 2705.0052 | 29.36%
2-6 Bowes St Phillip ACT 2606 | 2-6 Bowes Street | Canberra | ACT | 12376 | Y | 292.7409 | 134.617 | 0 | 287.9863 | 2274.4521 | 308.0915 | 25.5548 | 3112.1632 | 27.87%
Building C, 219-247 Pacific Highway, Artarmon | 1 Charles Street | Parramatta | NSW | 32355.9 | N | 0 | 0 | 0 | 7115.438 | 0 | 889.3486 | 166.8477 | 32876.6133 | 15.76%
1 Charles Street, PARRAMATTA NSW 2150 | 11 Murray Rose Avenue | Sydney Olympic Park | NSW | 5684 | Y | 259.8044 | 24.5567 | 131.7475 | 85.7057 | 0 | 180.102 | 31.0815 | 2567.5638 | 48.81%
11 Murray Rose Avenue Sydney Olympic Park NSW | 3 Murray Rose Avenue | Sydney Olympic Park | NSW | 13423.3 | Y | 501.5373 | 123.2453 | 257.9297 | 866.823 | 218.0871 | 183.8076 | 26.2442 | 9766.5387 | 30.45%
3 Murray Rose Ave, Sydney Olympic Park | 5 Murray Rose Avenue | Sydney Olympic Park | NSW | 12269.1 | Y | 446.5686 | 115.02 | 98.9463 | 0 | 37.147 | 167.8091 | 24.9065 | 195.2873 | 23.99%
5 Murray Rose Avenue, Sydney Olympic Park | 4 Broadcast Way | Artarmon | NSW | 14457 | Y | 615.417 | 5.5955 | 307.7085 | 0 | 122.4712 | 163.1124 | 29.3833 | 2370.3218 | 31.33%
333 Ann Street, Brisbane QLD 4000 | 15 Green Square Close | Fortitude Valley | QLD | 16523 | Y | 795.139 | 91.105 | 376.7517 | 458.881 | 224.5804 | 206.7786 | 35.8369 | 8157.4739 | 13.97%
15 Green Square Close, Fortitude Valley | 100 Melbourne Street | South Brisbane | QLD | 6597 | Y | 514.674 | 59.284 | 356.891 | 912.89 | 0 | 313.2104 | 56.9519 | 2761.1334 | 6.098%
22 CORDELIA ST (CB1), SOUTH BRISBANE | 104 Melbourne Street | South Brisbane | QLD | 11402 | Y | 486.667 | 76.62 | 383.0191 | 1045.409 | 0 | 177.8489 | 31.1583 | 7807.3525 | 30.12%
32 CORDELIA ST (A1), SOUTH BRISBANE | 32 Cordelia Street | South Brisbane | QLD | 10003 | Y | 544.677 | 0 | 281.927 | 395.078 | 0 | 196.0249 | 39.7495 | 787.7583 | 24.81%
42 MERIVALE ST (CB2), SOUTH BRISBANE | 52 Merivale Street | South Brisbane | QLD | 9405 | Y | 644.607 | 58.211 | 327.8909 | 666.955 | 0 | 269.0212 | 50.0333 | 3838.0691 | 25.9%
52 MERIVALE ST (A4), SOUTH BRISBANE | 100 Skyring Terrace | Newstead | QLD | 24665 | Y | 816.467 | 0 | 459.2093 | 1479.287 | 299.8761 | 131.7956 | 24.8241 | 9587.5718 | 13.6%
100 Skyring Terrace, NEWSTEAD QLD 4006 | 33-39 Richmond Road | Keswick | SA | 11589.3 | Y | 266.5902 | 0 | 125.9628 | 143.2672 | 558.0414 | 132.6813 | 8.3527 | 3145.9759 | 31.44%
33-39 Richmond Road, KESWICK SA 5035 | 109 Burwood Road | Hawthorn | VIC | 12388.1 | Y | 386.3 | 0 | 259.1223 | 1107.32 | 1603.0663 | 241.6631 | 31.3029 | 2531.4606 | 22.33%
109 Burwood Road, Hawthorn | 141 Camberwell Road | Hawthorn East | VIC | 10232.8 | Y | 244.4838 | 0 | 0 | 83.7288 | 636.0526 | 148.17 | 22.0778 | 1081.1573 | 45.22%
141 Camberwell Road,Hawthorn East VIC | 165-169 Thomas Street | Dandenong | VIC | 15070.9 | Y | 518.8049 | 0 | 259.4024 | 471.7137 | 1376.1511 | 215.2392 | 31.9005 | 1644.3055 | 37.71%
211 Wellington Road (Building B), Mulgrave, VIC 31 | Building B, 211 Wellington Road | Mulgrave | VIC | 12780 | Y | 316.6065 | 25.1042 | 158.7057 | 0 | 976.27 | 172.647 | 23.5075 | 1704.7728 | 21.73%
211 Wellington Road (Building C), Mulgrave, VIC 31 | Building C, 211 Wellington Road | Mulgrave | VIC | 10289 | Y | 172.4106 | 20.785 | 86.8821 | 231.1269 | 791.0624 | 144.7062 | 17.2155 | 1536.3752 | 20.06%
Bldg 1, 572 Swan St, Burnley VIC 3121 (GE) | 75 Dorcas Street | South Melbourne | VIC | 20446 | Y | 1171.9622 | 127.379 | 586.2696 | 510.6498 | 4760.3136 | 461.6033 | 57.2801 | 11987.5935 | 20.81%
Bldg 2, 572 Swan St, Burnley VIC 3121 (GE) | Building 1, 572-576 Swan Street | Richmond | VIC | 8554 | N | 0 | 0 | 0 | 611.5425 | 0 | 503.4035 | 75.1453 | 568.2728 | 20.2%
Bldg 3 570 Swan St Burnley VIC 3121 | Building 2, 572-576 Swan Street | Richmond | VIC | 14602 | N | 0 | 0 | 0 | 992.8873 | 0 | 434.2554 | 68.9983 | 2474.986 | 26.21%
75 Dorcas Street, SOUTH MELBOURNE VIC 3205 | Building 3, 570 Swan Street | Richmond | VIC | 19333.7 | Y | 667.3401 | 186.52 | 310.7153 | 886.542 | 1674.0252 | 245.6174 | 31.7329 | 3764.818 | 55.83%
836 Wellington Street, West Perth | 836 Wellington Street | West Perth | WA | 11972.5 | Y | 669.0415 | 0 | 831.416 | 919.5952 | 291.339 | 225.5075 | 30.8711 | 6176.0685 | 0
1. Some properties, including 11 Murray Rose and 141 Camberweel Rd, only have partial tenant data, as made available by the tenants.
2. Includes electricity, natural gas, solar and diesel
3. Includes base building Scope 1 and Scope 2 emissions for operationally controlled properties, and whole building Scope 3 emisions for non-operationally controlled

## Building Cert - Directly Owned
Building Cert - Directly Owned
Envizi name | Property | Region | State | Lettable area | Operationally controlled | NABERS Energy (without GreenPower) | NABERS Water (without recycled water) | NABERS Indoor Environment | Green Star Performance
|  |  |  | sqm | Y / N | Stars | Stars | Stars | Stars
10-12 Mort Street, Canberra ACT 2601 | 10-12 Mort Street | Canberra | ACT | 15398 | Y | 5.5 | 5.5 | 4 | 3
255 London Circuit, CANBERRA ACT 2601 | 255 London Circuit | Canberra | ACT | 9167 | Y | 4.5 | 5 | 4 | 3
2-6 Bowes St Phillip ACT 2606 | 2-6 Bowes Street | Canberra | ACT | 12376 | Y | 5 | 5 | 4 | 3
1 Charles Street, PARRAMATTA NSW 2150 | 1 Charles Street | Parramatta | NSW | 32355.9 | N | 5 | Not Rated | Not Rated | 2
11 Murray Rose Avenue Sydney Olympic Park NSW | 11 Murray Rose Avenue | Sydney Olympic Park | NSW | 5684 | Y | 5.5 | 4.5 | 3 | 3
3 Murray Rose Ave, Sydney Olympic Park | 3 Murray Rose Avenue | Sydney Olympic Park | NSW | 13423.3 | Y | 6 | 4 | 6 | 3
5 Murray Rose Avenue, Sydney Olympic Park | 5 Murray Rose Avenue | Sydney Olympic Park | NSW | 12269.1 | Y | Not Rated | Not Rated | Not Rated | 3
Building C, 219-247 Pacific Highway, Artarmon | 4 Broadcast Way | Artarmon | NSW | 14457 | Y | 5.5 | 4 | 5.5 | 3
15 Green Square Close, Fortitude Valley | 15 Green Square Close | Fortitude Valley | QLD | 16523 | Y | 5.5 | 4 | 6 | 3
42 MERIVALE ST (CB2), SOUTH BRISBANE | 100 Melbourne Street | South Brisbane | QLD | 6597 | Y | 5.5 | Not Rated | 3.5 | 3
22 CORDELIA ST (CB1), SOUTH BRISBANE | 104 Melbourne Street | South Brisbane | QLD | 11402 | Y | 5 | Not Rated | 5.5 | 3
32 CORDELIA ST (A1), SOUTH BRISBANE | 32 Cordelia Street | South Brisbane | QLD | 10003 | Y | 6 | 6 | 5.5 | 3
52 MERIVALE ST (A4), SOUTH BRISBANE | 52 Merivale Street | South Brisbane | QLD | 9405 | Y | 5.5 | 4.5 | 4 | 3
100 Skyring Terrace, NEWSTEAD QLD 4006 | 100 Skyring Terrace | Newstead | QLD | 24665 | Y | 6 | 4.5 | 4.5 | 3
33-39 Richmond Road, KESWICK SA 5035 | 33-39 Richmond Road | Keswick | SA | 11589.3 | Y | 5.5 | 5 | 4.5 | 3
109 Burwood Road, Hawthorn | 109 Burwood Road | Hawthorn | VIC | 12388.1 | Y | 5 | 5.5 | 5.5 | 3
141 Camberwell Road,Hawthorn East VIC | 141 Camberwell Road | Hawthorn East | VIC | 10232.8 | Y | Not Rated | Not Rated | 3.5 | Not Rated
| 165-169 Thomas Street | Dandenong | VIC | 15070.9 | Y | 5.5 | 6 | 5 | 3
211 Wellington Road (Building B), Mulgrave, VIC 31 | Building B, 211 Wellington Road | Mulgrave | VIC | 12780 | Y | 5.5 | 6 | 5 | 3
211 Wellington Road (Building C), Mulgrave, VIC 31 | Building C, 211 Wellington Road | Mulgrave | VIC | 10289 | Y | 4.5 | 5.5 | 3.5 | 3
75 Dorcas Street, SOUTH MELBOURNE VIC 3205 | 75 Dorcas Street | South Melbourne | VIC | 20446 | Y | 4 | 3 | 6 | 3
Bldg 1, 572 Swan St, Burnley VIC 3121 (GE) | Building 1, 572-576 Swan Street | Richmond | VIC | 8554 | N | 5 | 6 | 4.5 | 3
Bldg 2, 572 Swan St, Burnley VIC 3121 (GE) | Building 2, 572-576 Swan Street | Richmond | VIC | 14602 | N | 4.5 | 5.5 | 4 | 3
Bldg 3 570 Swan St Burnley VIC 3121 | Building 3, 570 Swan Street | Richmond | VIC | 19333.7 | Y | 5.5 | 5.5 | 5.5 | 3
836 Wellington Street, West Perth | 836 Wellington Street | West Perth | WA | 11972.5 | Y | 5.5 | 5 | 5 | 3
| Portfolio ratings (as of 30 June 2024) |  |  |  |  | 5.2 | 4.9 | 4.8 | 3
| Portfolio coverage - eligible assets (as of 30 June 2024) |  |  |  |  | 100% | 100% | 100%

## People
People
Employment
[As of FY24, the data provided below includes all full-time and part-time employees, casual and contracted staff]
Total employees by age and gender (as at 30 June)
| FY24 |  |  |  | FY23 |  |  |  | FY22 |  |  |  | FY21
| Male |  | Female |  | Male |  | Female |  | Male |  | Female |  | Male |  | Female
| No. | % of total employees | No. | % of total employees | No. | % of total employees | No. | % of total employees | No. | % of total employees | No. | % of total employees | No. | % of total employees | No. | % of total employees
Under 30 | 4 | 6.4516 | 8 | 12.9032 | 3 | 4.8387 | 6 | 9.6774 | 1 | 2.5641 | 2 | 5.1282 | 0 | 0 | 1 | 3.0303
30-50 | 22 | 35.4839 | 16 | 25.8065 | 22 | 35.4839 | 19 | 30.6452 | 13 | 33.3333 | 17 | 43.5897 | 13 | 39.3939 | 14 | 42.4242
50+ | 7 | 11.2903 | 5 | 8.0645 | 8 | 12.9032 | 4 | 6.4516 | 5 | 12.8205 | 1 | 2.5641 | 4 | 12.1212 | 1 | 3.0303
Sub-total (by gender) | 33 | 53.2258 | 29 | 46.7742 | 33 | 53.2258 | 29 | 46.7742 | 19 | 48.7179 | 20 | 51.2821 | 17 | 51.5152 | 16 | 48.4848
Total employees | 62 |  |  |  | 62 |  |  |  | 39 |  |  |  | 33
Employees turnover by age and gender (for the period)
| FY24 |  |  |  | FY23 |  |  |  | FY22 |  |  |  | FY21
| Male |  | Female |  | Male |  | Female |  | Male |  | Female |  | Male |  | Female
| No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total
Under 30 | 1 | 6.6667 | 2 | 18.1818 | 0 | 0 | 1 | 9.0909 | 1 | 10 | 1 | 10 | 0 | 0 | 0 | 0
30-50 | 4 | 26.6667 | 4 | 36.3636 | 1 | 9.0909 | 7 | 63.6364 | 3 | 30 | 5 | 50 | 0 | 0 | 0 | 0
50+ | 2 | 13.3333 | 2 | 18.1818 | 0 | 0 | 2 | 18.1818 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sub-total (by gender) | 7 | 46.6667 | 8 | 53.3333 | 1 | 9.0909 | 10 | 90.9091 | 4 | 40 | 6 | 60 | 0 | 0 | 0 | 0
Total employees | 15 |  |  |  | 11 |  |  |  | 10 |  |  |  | 0
New starters by age and gender (for the period)
| FY24 |  |  |  | FY23 |  |  |  | FY22 |  |  |  | FY21
| Male |  | Female |  | Male |  | Female |  | Male |  | Female |  | Male |  | Female
| No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total
Under 30 | 1 | 7.6923 | 5 | 38.4615 | 3 | 23.0769 | 2 | 15.3846 | 2 | 12.5 | 2 | 12.5 | 0 | 0 | 0 | 0
30-50 | 5 | 38.4615 | 1 | 7.6923 | 1 | 7.6923 | 4 | 30.7692 | 3 | 18.75 | 8 | 50 | 3 | 60 | 2 | 40
50+ | 0 | 0 | 1 | 7.6923 | 1 | 7.6923 | 2 | 15.3846 | 1 | 6.25 | 0 | 0 | 0 | 0 | 0 | 0
Sub-total (by gender) | 6 | 46.1538 | 7 | 53.8462 | 5 | 38.4615 | 8 | 61.5385 | 6 | 37.5 | 10 | 62.5 | 3 | 60 | 2 | 40
Total employees | 13 |  |  |  | 13 |  |  |  | 16 |  |  |  | 5
Percentage of employees receiving regular (annual) performance and career development reviews
| FY24 |  | FY23 |  | FY22
Job Category | Male | Female | Male | Female | Male | Female
Executive | 100% | 100% | 100% | 100% | 100% | 100%
Management | 100% | 100% | 100% | 100% | 100% | 100%
Professional | 100% | 100% | 100% | 100% | 100% | 100%
Support | 100% | 100% | 100% | 100% | 100% | 100%
Diversity and equal opportunity
Board composition by age and gender (as at 30 June)
| FY24 |  |  |  | FY23 |  |  |  | FY22 |  |  |  | FY21
| Male |  | Female |  | Male |  | Female |  | Male |  | Female |  | Male |  | Female
| No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total
Under 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30-50 | 1 | 11.1111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50+ | 4 | 44.4444 | 3 | 33.3333 | 6 | 66.6667 | 3 | 33.3333 | 6 | 75 | 2 | 25 | 6 | 75 | 2 | 25
Sub-total (by gender) | 5 | 62.5 | 3 | 37.5 | 6 | 66.6667 | 3 | 33.3333 | 6 | 75 | 2 | 25 | 6 | 75 | 2 | 25
Total | 8 |  |  |  | 9 |  |  |  | 8 |  |  |  | 8
|  | % by total employees |  |  |  | % by total employees |  |  |  | % by total employees
Employees by gender and employee category (as at 30 June)
| FY24 |  |  |  | FY23 |  |  |  | FY22 |  |  |  | FY21
| Male |  | Female |  | Male |  | Female |  | Male |  | Female |  | Male |  | Female
Job Category1 | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total | No. | % of total
Executive | 4 | 6.4516 | 1 | 1.6129 | 4 | 6.4516 | 1 | 1.6129 | 3 | 7.6923 | 1 | 2.5641 | 3 | 9.0909 | 1 | 3.0303
Management | 10 | 16.129 | 4 | 6.4516 | 9 | 14.5161 | 5 | 8.0645 | 4 | 10.2564 | 6 | 15.3846 | 5 | 15.1515 | 4 | 12.1212
Professional | 17 | 27.4194 | 18 | 29.0323 | 20 | 32.2581 | 20 | 32.2581 | 12 | 30.7692 | 10 | 25.641 | 9 | 27.2727 | 8 | 24.2424
Support | 2 | 3.2258 | 6 | 9.6774 | 0 | 0 | 3 | 4.8387 | 0 | 0 | 3 | 7.6923 | 0 | 0 | 3 | 9.0909
Sub-total (by gender) | 33 | 53.2258 | 29 | 46.7742 | 33 | 53.2258 | 29 | 46.7742 | 19 | 30.6452 | 20 | 32.2581 | 17 | 51.5152 | 16 | 48.4848
Total | 62 |  |  |  | 62 |  |  |  | 39 |  |  |  | 33
1. Under Job Category, we have defined our employee roles as:
Executive: members of our EMT
Management: employees who report directly to a member of our EMT, excluding assistants
Professional: non-managerial employees and employees in technical roles
Support: executive assistants, administration and reception employees
Cultural Diversity
Nationality/Cultural background of employees2
FY24
Nationality/Cultural background | % of total
Australian | 43.55%
British | 4.839%
Cambodian | 3.226%
Chilean | 1.613%
Chinese | 4.839%
Egyptian | 1.613%
Greek | 4.839%
Indian | 1.613%
Irish | 6.452%
Italian | 3.226%
Macedonian | 1.613%
Malaysian | 3.226%
New Zealander | 4.839%
Polish | 1.613%
Russian | 1.613%
Scottish | 3.226%
Singaporean | 3.226%
Spanish | 1.613%
Ukranian | 1.613%
Not Disclosed | 12.9%
2. Please note that some employees listed multiple cultural backgrounds
Note on C61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This number includes Tim Collyer as do all the numbers as of 30 June 2024

## Economic Performance
Direct economic value generated and distributed
The terms used in the following table are defined as follows:
Direct economic value generated: revenues
Economic value distributed: operating costs, employee wages and benefits, payments to providers of capital, payments to government by country, and community investments
Economic value retained: ‘economic value generated’ less ‘economic value distributed’
Scope | FY24 | FY23
| $m | $m
Economic value generated | 332.4 | 342.7
Economic value distributed | 328.8 | 330.8
Economic value retained | 3.6 | 11.9